## Slide 1: Refrigeration

## Slide 2: Refrigeration:

## Slide 3: Reversed Carnot Cycle: (Working Fluid - Air)

## Slide 4: COP of Carnot cycle with Air as working fluid:

## Slide 5: Reversed Carnot Cycle: (Working Fluid – Phase Change material)

## Slide 6: COP of Carnot cycle with any phase change material as working fluid:

## Slide 7: Bell Coleman Cycle (or) Reversed Brayton Cycle (or) Joule Cycle:

## Slide 12: Vapor Compression Refrigeration System: (VCRs)

## Slide 13: Vapor Compression Refrigeration System: (VCRs)

## Slide 14: COP of VCRs:

## Slide 15: Actual VCRs:

## Slide 17
Vapor Absorption:

## Slide 18
Vapor Absorption Refrigeration System: (VARs)
Vapor Compression Refrigeration

## Slide 19
Ammonia-Water VARs: